## Slide 1: Characterizing, Quantifying, and Applying Uncertainty in Earth Science Measurements
Robert Wolfe
Terrestrial Information Systems Laboratory
NASA Goddard Space Flight Center
ESIP Federation Meeting – Jan. 2018

## Slide 2: Earth Science Measurement Uncertainty
Measurements of the Earth’s surface, interior and atmosphere
  Platforms include satellite, aircraft, balloons, towers, buoys
  Typically involves digitization of an analog signal and temporal and spectral sampling
  Passive and active sensors, e.g. radiometers, lasers, radar
  Measurement may be computed by using an algorithm that approximates the physical system
An estimate of uncertainty is needed for scientific use of these quantitative measurements
  Uncertainty estimate is like a chain with the output uncertainty dependent on the correct determination and understanding of input uncertainties

## Slide 3: Characterization and Quantifying
Bottom up estimate
  Estimated from all known significant error sources
  Used for designing instruments and developing algorithms
Validation
  Comparison against other measurements
Use – by other algorithms or models
  How well can a measurement can be used by other algorithms? E.g., Aerosol measurement uncertainty impacts Surface Reflectance measurement uncertainty)
Stratification
  Errors may be related to factors such as sensing and illumination geometry, atmospheric conditions

## Slide 4: Bottom Up Example: Surface Reflectance
Sensor design, calibration, characterization, position, attitude
Top of atmosphere radiance
Illumination geometry
Target and sensing geometry
Top of atmosphere irradiance
Clouds and shadows
Aerosols
Water vapor and other gases
Physics is approximated by surface reflectance algorithm – with each component or input contributing to the uncertainty

## Slide 5: Validation (post facto)
Comparing against other “independent” sources
  Other satellites, aircraft data, tower data, etc.
  Each “independent” source has its own uncertainty
It is difficult to obtain validation sources that cover all possible stratification of the error
  Varying illumination and viewing geometry
  Spatial and temporal coincidence
  Other conditions (e.g. surface reflectance uncertainty is related to aerosol density)
May help identify previously unknown error sources
Also may lead to improvements in measurement approach (instrument design) or algorithm

## Slide 6: Applying Uncertainty
Product producer publishes information about uncertainty in various forms
  algorithm theoretical basis document, product users guide, web sites, peer-review publications, presentations
Product file may also contain discrete (QA bits) or continuous (per-pixel/sample) estimates of errors
Science users must understand the uncertainty when using product in analysis, in models or to generate (downstream) products
Communication of uncertainties is critical for scientific research and analysis